District Manager’s Report – August 1, 2024

A. Trinidad Reservoir and PRWCD Operations Report
The total content of Trinidad Reservoir on July 31st was 18,252 acre-feet.  A net decrease in storage of 1,579 acre-feet from the end of June.  
· The Project Account currently contains 2070 acre-feet.  A net decrease in storage of 1,473 acre-feet from the end of June.
· The Model Account currently contains 0 acre-feet.  Release and Evaporation for the month of 0 acre-feet.
· Average reservoir inflows at the PURMADCO stream gage for July was 48.1 cfs.  This compares to the long term average of 97 cfs.   
· July precipitation at the Airport was 1.09 inches.  Average July precipitation is 2.13 inches.
· The Joint Use Pool currently contains 3,307 acre-feet.  A net decrease of 75 acre-feet.  This decrease being mostly attributable to evaporation and releases.  
· The Permanent Fishery Pool currently contains a total of 12,833 acre-feet. A net decrease of 36 acre-feet.  
· B. Chilili Ditch Diversion Infrastructure Grant Application

The District and the Chilili Ditch Company drafted a grant application under the Colorado Water Conservation Board’s Water Supply and Reserve Fund program.  The purpose of this grant application is to seek approximately $26,500 of grant funds to help fund the estimated $31,000 of design costs for a new 
Chilili Ditch diversion structure including automatic headgate.  The remaining funds to are to be provided by the District and the Chilili Ditch Company.


This grant application is only for funds to fund a professional design for the diversion structure including construction cost estimates.  Once a design is complete, it is anticipated that construction cost funding will immediately be pursued.

The District received comments from CWCB and returned answers to the comments on June 26th.  Filling out the final paperwork and should be contracted sometime during the month of August.  Then the district will work to commence the work hopefully in September.

C. General Items

The John Flood Ditch Gate will be installed tentatively the week after the end of the irrigation Season unless something changes.
Followed up with the Rubicon Installer Jason.

The general manager submitted the Irrigation Improvement Rules Plan for the 2024 Irrigation Year for the District sprinkler users.  This plan was submitted to the State/Division Engineer’s Office on March 14th. Still awaiting the Approved Final Plan from Division Engineer. The Improvement Plan was approved as written by Rachel Zancanella, Division Engineer on June 25th.

July 9th – Completed Sprinkler Readings.

July 22nd – 2nd City water lease paid and transferred in the amount of 500 AF.

Week of August 5th - I will be completing the Sprinkler Readings for the District.


Other Activities – 
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